Instructions for Transradial Amputees Using Supracondylar Suspension

Application:

Depending on your desired way to wear your prosthesis you will follow one of the following:

Skin Fit:

- Apply talcum powder to limb or use a pull a sock for ease of donning

- Place your limb inside the prosthesis.  Be sure that your limb is secured inside the socket.

- For a figure of 8 harness place your opposing arm through the harness and lift both arms letting the harness slide down your arm and onto your back.

- Position the harness so that the center ring is between your shoulder blades.

Supracondylar with Prosthetic Socks:

- Apply the appropriate number of prosthetic sock ply

- Be sure that socks are free of any wrinkles

- If at any time your prosthesis seems too loose or too tight, you will need to modify the amount of sock ply.

- Lastly, put on the prosthesis (hard out socket)

Removing the Prosthesis:

- Depending on your harness;

- Remove the prosthesis first by slightly twisting your arm and pulling gently out of the socket.

If at any time you have questions or concerns, please contact your prosthetist.